{"text_format":"3","workbook":"xls","n_sheets":4,"sheets":["2.1 表-03 单项工程招标控制价表","3.1 表-08 分部分项工程和单价措施项目清单与计价表","3.2 表-11 总价措施项目清单与计价表","3.3 表-13 规费、税金项目计价表"],"not_rendered":{"external_links":1,"defined_names":4},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"2.1 表-03 单项工程招标控制价表","index":0,"n_rows":44,"n_cols":8,"rows_kept":44,"merged":[[0,0,0,7],[1,0,1,4],[1,5,1,7],[2,0,3,0],[2,1,3,2],[2,3,3,3],[2,4,2,7],[3,4,3,5],[4,1,4,2],[4,4,4,5],[5,1,5,2],[5,4,5,5],[6,1,6,2],[6,4,6,5],[7,1,7,2],[7,4,7,5],[8,1,8,2],[8,4,8,5],[9,1,9,2],[9,4,9,5],[10,1,10,2],[10,4,10,5],[11,1,11,2],[11,4,11,5],[12,1,12,2],[12,4,12,5],[13,1,13,2],[13,4,13,5],[14,1,14,2],[14,4,14,5],[15,1,15,2],[15,4,15,5],[16,1,16,2],[16,4,16,5],[17,1,17,2],[17,4,17,5],[18,1,18,2],[18,4,18,5],[19,1,19,2],[19,4,19,5],[20,1,20,2],[20,4,20,5],[21,1,21,2],[21,4,21,5],[22,1,22,2],[22,4,22,5],[23,1,23,2],[23,4,23,5],[24,1,24,2],[24,4,24,5],[25,1,25,2],[25,4,25,5],[26,1,26,2],[26,4,26,5],[27,1,27,2],[27,4,27,5],[28,1,28,2],[28,4,28,5],[29,1,29,2],[29,4,29,5],[30,1,30,2],[30,4,30,5],[31,1,31,2],[31,4,31,5],[32,1,32,2],[32,4,32,5],[33,1,33,2],[33,4,33,5],[34,1,34,2],[34,4,34,5],[35,1,35,2],[35,4,35,5],[36,1,36,2],[36,4,36,5],[37,1,37,2],[37,4,37,5],[38,1,38,2],[38,4,38,5],[39,1,39,2],[39,4,39,5],[40,1,40,2],[40,4,40,5],[41,0,41,2],[41,4,41,5],[43,2,43,7]],"flags":["formulas_cached_only"]}
["单项工程招标控制价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":4},"第1页 共1页"]
["序号","单位工程名称",null,"金额(元)","其中：(元)"]
[{"$nulls":4},"暂估价",null,"安全文明\n施工费","规费"]
["1","食堂餐厨垃圾点改造工程",null,null,""]
{"$rows_empty":36}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"3.1 表-08 分部分项工程和单价措施项目清单与计价表","index":1,"n_rows":96,"n_cols":12,"rows_kept":96,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,9],[1,10,1,11],[2,0,4,0],[2,1,4,1],[2,2,4,3],[2,4,4,5],[2,6,4,6],[2,7,4,7],[2,8,2,11],[3,8,4,8],[3,9,4,10],[5,2,5,5],[5,9,5,10],[6,2,6,3],[6,4,6,5],[6,9,6,10],[7,2,7,3],[7,4,7,5],[7,9,7,10],[8,2,8,3],[8,4,8,5],[8,9,8,10],[9,2,9,5],[9,9,9,10],[10,2,10,5],[10,9,10,10],[11,2,11,3],[11,4,11,5],[11,9,11,10],[12,2,12,3],[12,4,12,5],[12,9,12,10],[13,2,13,3],[13,4,13,5],[13,9,13,10],[14,2,14,3],[14,4,14,5],[14,9,14,10],[15,2,15,3],[15,4,15,5],[15,9,15,10],[16,2,16,3],[16,4,16,5],[16,9,16,10],[17,2,17,5],[17,9,17,10],[18,2,18,5],[18,9,18,10],[19,2,19,3],[19,4,19,5],[19,9,19,10],[20,2,20,3],[20,4,20,5],[20,9,20,10],[21,0,22,0],[21,1,22,1],[21,2,22,3],[21,4,22,5],[21,6,22,6],[21,7,22,7],[21,8,22,8],[21,9,22,10],[21,11,22,11],[23,2,23,3],[23,4,23,5],[23,9,23,10],[24,2,24,3],[24,4,24,5],[24,9,24,10],[25,0,25,8],[25,9,25,10],[27,3,27,11],[28,0,28,11],[29,0,29,4],[29,5,29,9],[29,10,29,11],[30,0,32,0],[30,1,32,1],[30,2,32,3],[30,4,32,5],[30,6,32,6],[30,7,32,7],[30,8,30,11],[31,8,32,8],[31,9,32,10],[33,2,33,3],[33,4,33,5],[33,9,33,10],[34,0,35,0],[34,1,35,1],[34,2,35,3],[34,4,35,5],[34,6,35,6],[34,7,35,7],[34,8,35,8],[34,9,35,10],[34,11,35,11],[36,2,36,5],[36,9,36,10],[37,2,37,5],[37,9,37,10],[38,2,38,3],[38,4,38,5],[38,9,38,10],[39,0,40,0],[39,1,40,1],[39,2,40,3],[39,4,40,5],[39,6,40,6],[39,7,40,7],[39,8,40,8],[39,9,40,10],[39,11,40,11],[41,2,41,3],[41,4,41,5],[41,9,41,10],[42,2,42,3],[42,4,42,5],[42,9,42,10],[43,2,43,3],[43,4,43,5],[43,9,43,10],[44,2,44,5],[44,9,44,10],[45,2,45,5],[45,9,45,10],[46,2,46,3],[46,4,46,5],[46,9,46,10],[47,2,47,3],[47,4,47,5],[47,9,47,10],[48,0,48,8],[48,9,48,10],[50,3,50,11],[51,0,51,11],[52,0,52,4],[52,5,52,9],[52,10,52,11],[53,0,55,0],[53,1,55,1],[53,2,55,3],[53,4,55,5],[53,6,55,6],[53,7,55,7],[53,8,53,11],[54,8,55,8],[54,9,55,10],[56,2,56,5],[56,9,56,10],[57,2,57,3],[57,4,57,5],[57,9,57,10],[58,2,58,3],[58,4,58,5],[58,9,58,10],[59,2,59,3],[59,4,59,5],[59,9,59,10],[60,2,60,3],[60,4,60,5],[60,9,60,10],[61,2,61,3],[61,4,61,5],[61,9,61,10],[62,2,62,3],[62,4,62,5],[62,9,62,10],[63,2,63,3],[63,4,63,5],[63,9,63,10],[64,2,64,3],[64,4,64,5],[64,9,64,10],[65,2,65,3],[65,4,65,5],[65,9,65,10],[66,2,66,3],[66,4,66,5],[66,9,66,10],[67,2,67,3],[67,4,67,5],[67,9,67,10],[68,2,68,3],[68,4,68,5],[68,9,68,10],[69,2,69,3],[69,4,69,5],[69,9,69,10],[70,2,70,3],[70,4,70,5],[70,9,70,10],[71,2,71,3],[71,4,71,5],[71,9,71,10],[72,2,72,3],[72,4,72,5],[72,9,72,10],[73,2,73,3],[73,4,73,5],[73,9,73,10],[74,2,74,3],[74,4,74,5],[74,9,74,10],[75,2,75,3],[75,4,75,5],[75,9,75,10],[76,2,76,3],[76,4,76,5],[76,9,76,10],[77,2,77,3],[77,4,77,5],[77,9,77,10],[78,2,78,3],[78,4,78,5],[78,9,78,10],[79,2,79,3],[79,4,79,5],[79,9,79,10],[80,2,80,3],[80,4,80,5],[80,9,80,10],[81,2,81,3],[81,4,81,5],[81,9,81,10],[82,2,82,3],[82,4,82,5],[82,9,82,10],[83,2,83,3],[83,4,83,5],[83,9,83,10],[84,2,84,3],[84,4,84,5],[84,9,84,10],[85,2,85,3],[85,4,85,5],[85,9,85,10],[86,2,86,3],[86,4,86,5],[86,9,86,10],[87,2,87,3],[87,4,87,5],[87,9,87,10],[88,2,88,3],[88,4,88,5],[88,9,88,10],[89,2,89,3],[89,4,89,5],[89,9,89,10],[90,2,90,3],[90,4,90,5],[90,9,90,10],[91,2,91,3],[91,4,91,5],[91,9,91,10],[92,0,92,8],[92,9,92,10],[93,0,93,8],[93,9,93,10],[95,3,95,11]],"flags":["formulas_cached_only"]}
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":4},"标段：",{"$nulls":4},"第1页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"0410 拆除工程",{"$nulls":4},""]
["1","041001001001","拆除路面",null,"1、材质：混凝土路面\n2、厚度：15cm以内",null,"m2","27.3"]
["2","041001005001","拆除侧、平（缘）石",null,"1、材质：砼路牙",null,"m","31"]
["3","040103002002","余方弃置",null,"1、废弃料品种：拆除垃圾外运\n2、运距：由投标人自行考虑",null,"m3","5.65"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"0401 土石方工程",{"$nulls":4},""]
["4","040101001001","挖一般土方",null,"1、土壤类别：一二类土\n2、挖土深度：2米以内",null,"m3","11.53"]
["5","040101002001","挖沟槽土方",null,"1、土壤类别：一二类土\n2、挖土深度：2米以内",null,"m3","16.3"]
["6","040101003001","挖基坑土方",null,"1、土壤类别：一二类土\n2、挖土深度：4米以内",null,"m3","17.65"]
["7","040103001001","回填方",null,"1、填方材料品种：原土回填",null,"m3","7.21"]
["8","010501003001","独立基础",null,"1、混凝土种类：商品砼\n2、混凝土强度等级：C25",null,"m3","1.95"]
["9","040103002001","余方弃置",null,"1、废弃料品种：余土外运\n2、运距：由投标人自行考虑",null,"m3","38.27"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"0402 道路工程",{"$nulls":4},""]
["10","040202001001","路床（槽）整形",null,"1、部位：新建砼路面",null,"m2","46.1"]
["11","040202011001","碎石",null,"1、厚度：10cm碎石垫层",null,"m2","46.1"]
["12","040203007001","水泥混凝土",null,"1、混凝土强度等级：C25\n2、厚度：15cm\n3、备注：新做砼路面向新做明沟找坡，坡度不低于2%\n4、路面养生：草袋子养生",null,"m2","46.1"]
[]
[]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":4},"标段：",{"$nulls":4},"第2页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
["13","040204004001","安砌侧（平、缘）石",null,"1、材料品种、规格：300*1000*100大理石路牙\n2、基础、垫层：材料品种、厚度：C15混凝土垫层",null,"m","31"]
["14","010507001001","散水、坡道",null,"1、垫层材料种类、厚度：10cm碎石垫层\n2、混凝土种类：C25混凝土坡道\n3、部位：原栏杆处新增坡道",null,"m2","2.4"]
[]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"0405 管网工程",{"$nulls":4},""]
["15","040501004001","塑料管",null,"1、垫层、基础材质及厚度：100厚中粗砂垫层\n2、材质及规格：DN300双壁波纹管\n3、污水管",null,"m","7"]
["16","010401014001","砖地沟、明沟",null,"1、砖品种、规格、强度等级：MU15砖\n2、垫层：C15商品砼\n3、砂浆强度等级：1:2水泥砂浆\n4、井盖：500*400铸铁盖板\n5、深度：1.2米",null,"m","7"]
[]
["17","040504008005","GG-2型隔油池",null,"1、图集编号：04S519-53\n2、型号、规格：无地下水，无覆土，GG-1型隔油池",null,"座","1"]
["18","040504001046","提升井",null,"1、提升原有井与新做地面契合\n2、工程量暂估，结算时按实结算",null,"座","4"]
["19","050102001001","栽植乔木",null,"1、种类：香樟\n2、胸径或干径：φ20\n3、养护期：一年三级养护，成活率养护",null,"株","1"]
[null,null,"分部小计",{"$nulls":4},""]
[null,null,"分部分项合计",{"$nulls":4},""]
["1","041106001001","大型机械设备进出场及安拆",{"$nulls":3},"项","1"]
[]
["本页小计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["分部分项工程和单价措施项目清单与计价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":4},"标段：",{"$nulls":4},"第3页 共3页"]
["序号","项目编码","项目名称",null,"项目特征描述",null,"计量\n单位","工程量","金额（元）"]
[{"$nulls":8},"综合单价","合价",null,"其中"]
[{"$nulls":11},"暂估价"]
[null,null,"单价措施合计",{"$nulls":4},""]
{"$rows_empty":35}
["本页小计"]
["合    计"]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]

{"sheet":"3.2 表-11 总价措施项目清单与计价表","index":2,"n_rows":50,"n_cols":14,"rows_kept":50,"merged":[[0,0,0,14],[1,0,1,6],[1,7,1,11],[1,12,1,14],[2,2,2,4],[2,6,2,7],[2,8,2,9],[2,11,2,12],[2,13,2,14],[3,2,3,4],[3,6,3,7],[3,8,3,9],[3,11,3,12],[3,13,3,14],[4,2,4,4],[4,6,4,7],[4,8,4,9],[4,11,4,12],[4,13,4,14],[5,2,5,4],[5,6,5,7],[5,8,5,9],[5,11,5,12],[5,13,5,14],[6,2,6,4],[6,6,6,7],[6,8,6,9],[6,11,6,12],[6,13,6,14],[7,2,7,4],[7,6,7,7],[7,8,7,9],[7,11,7,12],[7,13,7,14],[8,2,8,4],[8,6,8,7],[8,8,8,9],[8,11,8,12],[8,13,8,14],[9,2,9,4],[9,6,9,7],[9,8,9,9],[9,11,9,12],[9,13,9,14],[10,2,10,4],[10,6,10,7],[10,8,10,9],[10,11,10,12],[10,13,10,14],[11,2,11,4],[11,6,11,7],[11,8,11,9],[11,11,11,12],[11,13,11,14],[12,2,12,4],[12,6,12,7],[12,8,12,9],[12,11,12,12],[12,13,12,14],[13,2,13,4],[13,6,13,7],[13,8,13,9],[13,11,13,12],[13,13,13,14],[14,2,14,4],[14,6,14,7],[14,8,14,9],[14,11,14,12],[14,13,14,14],[15,2,15,4],[15,6,15,7],[15,8,15,9],[15,11,15,12],[15,13,15,14],[16,0,16,14],[17,3,17,14],[18,0,18,3],[18,9,18,13],[19,0,19,14],[20,0,20,6],[20,7,20,11],[20,12,20,14],[21,2,21,4],[21,6,21,7],[21,8,21,9],[21,11,21,12],[21,13,21,14],[22,2,22,4],[22,6,22,7],[22,8,22,9],[22,11,22,12],[22,13,22,14],[23,2,23,4],[23,6,23,7],[23,8,23,9],[23,11,23,12],[23,13,23,14],[24,0,26,0],[24,1,26,1],[24,2,26,4],[24,5,26,5],[24,6,26,7],[24,8,26,9],[24,10,26,10],[24,11,26,12],[24,13,26,14],[27,2,27,4],[27,6,27,7],[27,8,27,9],[27,11,27,12],[27,13,27,14],[28,2,28,4],[28,6,28,7],[28,8,28,9],[28,11,28,12],[28,13,28,14],[29,2,29,4],[29,6,29,7],[29,8,29,9],[29,11,29,12],[29,13,29,14],[30,2,30,4],[30,6,30,7],[30,8,30,9],[30,11,30,12],[30,13,30,14],[31,2,31,4],[31,6,31,7],[31,8,31,9],[31,11,31,12],[31,13,31,14],[32,2,32,4],[32,6,32,7],[32,8,32,9],[32,11,32,12],[32,13,32,14],[33,2,33,4],[33,6,33,7],[33,8,33,9],[33,11,33,12],[33,13,33,14],[34,2,34,4],[34,6,34,7],[34,8,34,9],[34,11,34,12],[34,13,34,14],[35,2,35,4],[35,6,35,7],[35,8,35,9],[35,11,35,12],[35,13,35,14],[36,2,36,4],[36,6,36,7],[36,8,36,9],[36,11,36,12],[36,13,36,14],[37,2,37,4],[37,6,37,7],[37,8,37,9],[37,11,37,12],[37,13,37,14],[38,2,38,4],[38,6,38,7],[38,8,38,9],[38,11,38,12],[38,13,38,14],[39,2,39,4],[39,6,39,7],[39,8,39,9],[39,11,39,12],[39,13,39,14],[40,2,40,4],[40,6,40,7],[40,8,40,9],[40,11,40,12],[40,13,40,14],[41,2,41,4],[41,6,41,7],[41,8,41,9],[41,11,41,12],[41,13,41,14],[42,2,42,4],[42,6,42,7],[42,8,42,9],[42,11,42,12],[42,13,42,14],[43,2,43,4],[43,6,43,7],[43,8,43,9],[43,11,43,12],[43,13,43,14],[44,2,44,4],[44,6,44,7],[44,8,44,9],[44,11,44,12],[44,13,44,14],[45,2,45,4],[45,6,45,7],[45,8,45,9],[45,11,45,12],[45,13,45,14],[46,2,46,4],[46,6,46,7],[46,8,46,9],[46,11,46,12],[46,13,46,14],[47,0,47,14],[48,3,48,14],[49,0,49,3],[49,9,49,13]],"flags":["formulas_cached_only"]}
["总价措施项目清单与计价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":6},"标段：",{"$nulls":4},"第1页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["1","041109001001","安全文明施工费",{"$nulls":3},""]
["1.1",null,"基本费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","1.500"]
["1.2",null,"增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["1.3",null,"扬尘污染防治增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","0.310"]
["2","041109002001","夜间施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["3","041109003001","二次搬运",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["4","041109004001","冬雨季施工",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["5","041109005001","行车、行人干扰",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["6","041109006001","地上、地下设施、建筑物的临时保护设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["7","041109007001","已完工程及设备保护",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["8","041109008001","临时设施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
[]
[]
[]
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]
["总价措施项目清单与计价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":6},"标段：",{"$nulls":4},"第2页 共2页"]
["序号","项目编码","项目名称",null,null,"计算基础","费率（%）",null,"金额（元）",null,"调整\n费率（%）","调整后\n金额（元）",null,"备注"]
["9","041109009001","赶工措施",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["10","041109010001","工程按质论价",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
["11","041109011001","建筑工人实名制费用",null,null,"分部分项合计+单价措施项目合计-除税工程设备费","",{"$nulls":6},"建筑工人实名制设备由建筑工人工资专用账户开户银行提供的，建筑工人实名制费用按表中费率乘以0.5系数计取"]
[]
[]
["12","041109091001","特殊条件下施工增加费",null,null,"分部分项合计+单价措施项目合计-除税工程设备费",""]
{"$rows_empty":20}
[{"$nulls":3},"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":8},"复核人（造价工程师）："]

{"sheet":"3.3 表-13 规费、税金项目计价表","index":3,"n_rows":41,"n_cols":11,"rows_kept":41,"merged":[[0,0,0,11],[1,0,1,4],[1,5,1,8],[1,9,1,11],[2,1,2,2],[2,3,2,5],[2,6,2,7],[2,8,2,9],[2,10,2,11],[3,1,3,2],[3,3,3,5],[3,6,3,7],[3,8,3,9],[3,10,3,11],[4,1,4,2],[4,3,4,5],[4,6,4,7],[4,8,4,9],[4,10,4,11],[5,1,5,2],[5,3,5,5],[5,6,5,7],[5,8,5,9],[5,10,5,11],[6,1,6,2],[6,3,6,5],[6,6,6,7],[6,8,6,9],[6,10,6,11],[7,1,7,2],[7,3,7,5],[7,6,7,7],[7,8,7,9],[7,10,7,11],[8,1,8,2],[8,3,8,5],[8,6,8,7],[8,8,8,9],[8,10,8,11],[9,1,9,2],[9,3,9,5],[9,6,9,7],[9,8,9,9],[9,10,9,11],[10,1,10,2],[10,3,10,5],[10,6,10,7],[10,8,10,9],[10,10,10,11],[11,1,11,2],[11,3,11,5],[11,6,11,7],[11,8,11,9],[11,10,11,11],[12,1,12,2],[12,3,12,5],[12,6,12,7],[12,8,12,9],[12,10,12,11],[13,1,13,2],[13,3,13,5],[13,6,13,7],[13,8,13,9],[13,10,13,11],[14,1,14,2],[14,3,14,5],[14,6,14,7],[14,8,14,9],[14,10,14,11],[15,1,15,2],[15,3,15,5],[15,6,15,7],[15,8,15,9],[15,10,15,11],[16,1,16,2],[16,3,16,5],[16,6,16,7],[16,8,16,9],[16,10,16,11],[17,1,17,2],[17,3,17,5],[17,6,17,7],[17,8,17,9],[17,10,17,11],[18,1,18,2],[18,3,18,5],[18,6,18,7],[18,8,18,9],[18,10,18,11],[19,1,19,2],[19,3,19,5],[19,6,19,7],[19,8,19,9],[19,10,19,11],[20,1,20,2],[20,3,20,5],[20,6,20,7],[20,8,20,9],[20,10,20,11],[21,1,21,2],[21,3,21,5],[21,6,21,7],[21,8,21,9],[21,10,21,11],[22,1,22,2],[22,3,22,5],[22,6,22,7],[22,8,22,9],[22,10,22,11],[23,1,23,2],[23,3,23,5],[23,6,23,7],[23,8,23,9],[23,10,23,11],[24,1,24,2],[24,3,24,5],[24,6,24,7],[24,8,24,9],[24,10,24,11],[25,1,25,2],[25,3,25,5],[25,6,25,7],[25,8,25,9],[25,10,25,11],[26,1,26,2],[26,3,26,5],[26,6,26,7],[26,8,26,9],[26,10,26,11],[27,1,27,2],[27,3,27,5],[27,6,27,7],[27,8,27,9],[27,10,27,11],[28,1,28,2],[28,3,28,5],[28,6,28,7],[28,8,28,9],[28,10,28,11],[29,1,29,2],[29,3,29,5],[29,6,29,7],[29,8,29,9],[29,10,29,11],[30,1,30,2],[30,3,30,5],[30,6,30,7],[30,8,30,9],[30,10,30,11],[31,1,31,2],[31,3,31,5],[31,6,31,7],[31,8,31,9],[31,10,31,11],[32,1,32,2],[32,3,32,5],[32,6,32,7],[32,8,32,9],[32,10,32,11],[33,1,33,2],[33,3,33,5],[33,6,33,7],[33,8,33,9],[33,10,33,11],[34,1,34,2],[34,3,34,5],[34,6,34,7],[34,8,34,9],[34,10,34,11],[35,1,35,2],[35,3,35,5],[35,6,35,7],[35,8,35,9],[35,10,35,11],[36,1,36,2],[36,3,36,5],[36,6,36,7],[36,8,36,9],[36,10,36,11],[37,0,37,9],[37,10,37,11],[39,2,39,11],[40,0,40,3],[40,7,40,10]],"flags":["formulas_cached_only"]}
["规费、税金项目计价表"]
["工程名称：食堂餐厨垃圾点改造工程",{"$nulls":4},"标段：",{"$nulls":3},"第1页 共1页"]
["序号","项目名称",null,"计算基础",null,null,"计算基数(元)",null,"计算费率(％)",null,"金额(元)"]
["1","规费",null,"环境保护税+社会保险费+住房公积金",{"$nulls":4},"100.000"]
["1.1","社会保险费",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"2.000"]
["1.2","住房公积金",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},"0.340"]
["1.3","环境保护税",null,"分部分项工程费+措施项目费+其他项目费-除税工程设备费",{"$nulls":4},""]
["2","税金",null,"分部分项工程费+措施项目费+其他项目费+规费-除税甲供材料和甲供设备费/1.01",{"$nulls":4},"9.000"]
{"$rows_empty":29}
["合  计"]
[]
[null,null,"【新点2013清单造价江苏版 V10.3.5】"]
["编制人（造价人员）：",{"$nulls":6},"复核人（造价工程师）："]